Ultra-Low-Power and High-Frequency-Response Carbon Nanotube Based MEMS Thermal Sensors

Carmen K. M. Fung and Wen J. Li*

Centre for Micro and Nano Systems

The Chinese University of Hong Kong

Hong Kong SAR

*Contacting Author: wen@acae.cuhk.edu.hk

Phone: +852 2609 8475   Fax: +852 2603 6002

Abstract – A novel bulk multi-walled carbon nanotubes (MWNT) based MEMS thermal sensor was fabricated using a polymer thin film to encapsulate MWNT sensing elements. The basic process includes AC electrophoretic manipulation of MWNT bundles on a silicon substrate and embedding them inside parylene C layers to provide a robust protection for the bundled MWNT. This encapsulation process ensures that the MWNT elements can be protected from moisture and contaminates in an operational environment, and thus, allow the sensors to be useful for potential application such as temperature measurement in water, sensing human touch and body temperature, or as ultra-sensitive sensors in manufacturing plants.  We have measured the temperature coefficient of resistance (TCR) of these encapsulated MWNT-based micro sensors and also integrated them into constant current configuration for dynamic characterization. The I-V measurements of the resulting devices revealed that their power consumption were in the  range.  Besides, the frequency response of the testing devices was generally over 100 kHz in constant current mode operation. Based on these experimental evidences, carbon nanotube is a promising material for fabricating ultra low power consumption and high frequency response micro sensors for future sensing and electronic applications.

# INTRODUCTION

Power consumption is one of the most important engineering considerations in designing electrical circuits and systems.  Hugh amount of efforts have been placed to minimize the power consumption of electrical systems, since high power consumption implies high heat dissipation which is undesirable in many applications.  A typical example is the wall shear stress measurement in aerodynamic applications [1].  Excessive heat dissipation from a hot film anemometrical sensor will disturb the minute fluidic motion, crippling its ability to sense true fluidic parameters.  With our preliminary experimental findings on bundled MWNT devices, we found that the devices can be operated at  range [2][3], which is ultra low power consumption for applications like shear stress and thermal sensing (e.g., in the order of mW range for typically MEMS polysilicon devices [3]).  However, in our prior work, the MWNT devices were exposed to air, and there was no direct means to fix the MWNT bundles on electrodes, except by van der Waal’s force.  In this paper, we present our latest successful development of a MEMS-compatible process to encapsulate the MWNT bundles for reliable test and measurements.

Carbon nanotubes (CNT), since discovered in 1991 by Sumio Iijima [5], have been extensively studied for their electrical (e.g., see [6]) and mechanical properties (e.g., see [7]). Owing to the minute dimensions and the good mechanical and electrical properties of CNT, different groups started to utilize CNT as nano sensors or devices for different applications. An example in using CNT as chemical sensors can be demonstrated by Dai et al. [8], which suggested that individual semi-conductive SWNT sensors have a high sensitivity in detecting the molecular species such as NO2 and NH3 at room temperature.  In order to build a CNT based device, technique to manipulate the CNT has to be developed.  Typical manipulation technique is by atomic force microscopy [9].  However, this pick-and-place technique is time consuming, though the technique has very high positioning accuracy.  Past demonstrations by K. Yamamoto et al. showed that carbon nanotube can be manipulated by AC and DC electric field [10][11].  Besides, a recent report from L. A. Nagahara et al. demonstrated the individual single-walled carbon nanotube (SWNT) manipulation using nano-electrodes by AC bias voltage [12].  By using similar technique (i.e., AC electrophoresis), we have successfully manipulated bundled carbon nanotubes to form resistive elements between Au microelectrodes for sensing and electronic circuits efficiently.  This paper reports the technique to form bundled MWNT resistive element between Au electrodes and our preliminary experimental findings on the electrical characterizations such as frequency response and I-V characteristics of the embedded bundled MWNT sensors.  The results indicate that the carbon nanotube is promising to be used as high performance and low power consumption devices for future electronic and sensing applications.

# FORMATION OF CNT ELEMENTS BY AC ELECTROPHORESIS

## AC Electrophoretic Manipulation of CNT

### Theoretical Background

AC electrophoresis (or dielectrophoresis) is a phenomenon where neutral particles undergoing mechanical motion inside a non-uniform AC electric field (see Figure 1).  Detailed descriptions on AC electrophoresis can be found in [13].  The dielectrophoretic force imparted on the particles can be described by the following equation:

(1)

where is the polarizability of the particles, which is a frequency dependent term.  V is the volume of the particles and =is the gradient operator.   is the magnitude of the electric field strength.  Equation (1) reveals that the generated force is dependent of the gradient of electric field rather than the direction of electric field.  Besides, the polarizability function also determines whether the force generated is attractive (positive dielectrophoresis) or repulsive (negative dielectrophoresis).

Figure 1. Under non-uniform AC electric field, dielectrophoretic force induced on the neutral particles cause mechanical motion on the particles.

### Experimental Details

The bundled MWNT used in the experiments were ordered commercially from [14] (prepared by chemical vapour deposition).  The axial dimension and the diameter of the MWNT was 1 – 10  and 10 – 30 nm, respectively. Prior to the MWNT manipulation, 50 mg of the sample was ultrasonically dispersed in 500 mL ethanol solution and the resulting solution was diluted to 0.01 mg/mL or lower concentration for later usage.

After the Au microelectrodes were fabricated as described in [3], the silicon substrate with arrays of sensor-electrodes was placed on the vacuum-pump stage of a micromanipulator station. Then approximately 10  of the MWNT/ethanol solution was transferred to the substrate by a 6 mL gas syringe (see Figure 2) and the Au microelectrodes were excited by AC voltage source  (typically, 16 V peak-to-peak at 1 MHz).  The ethanol was evaporated away leaving the MWNT to reside between the gaps of the microelectrodes (see Figure 3).  To test the connectivity of MWNT to the electrodes for each sensor, room temperature resistances between the microelectrodes were measured to ensure finite resistance exist, before the sensors were advanced to the next fabrication procedure.

Figure 2. Experimental setup for CNT manipulation to build MWNT sensors

We experimentally found that the resistances of the MWNT bundles were sample dependent (i.e., different MWNT samples have different room temperature resistances) and the two probe room temperature resistances of the samples typically range from several kΩ to several hundred kΩ.  Since the conductivity of CNTs depend on their lattice geometries during their growth process, the conductivities of individual CNT cannot be well controlled, which results in the variation of conductivities in individual CNT.  During the AC electrophoresis process to form MWNT bundles across microelectrodes, the MWNT was randomly connected between microelectrodes.  Therefore, it is logically that different MWNT samples exhibited different conductivities.

Figure 3. Scanning electron microscopic (SEM) image showing the MWNT connections between Au microelectrodes.

PARYLENE/CNT/PARYLENE EMBEDDED MWNT SENSORS

## Fabrication Process

The fabrication process for the parylene embedded CNT sensor is shown in Figure 4. We are currently fabricating the MWNT based MEMS sensors for different sensing purposes. In order to protect the bundled MWNT from contaminates and to avoid their detachment from the electrodes, a parylene C polymer is used to embed the bulk MWNT. The advantage of using Paraylene C is that it can be deposited conformally at room temperature. As seen in the fabrication process, SiO2 was first deposited on the silicon substrate to avoid conduction of the gold electrode with the substrate. Then the Au and Cr electrodes were patterned on the substrate (Cr was used to improve the adhesion of Au to the substrate). Photoresist (AZ5214) was spun-on and patterned between the gap of the Au electrodes to provide a trench under the MWNT sensor. This photoresist layer can be used as a sacrificial layer for particular applications of the sensors. The bottom parylene C layer was then deposited on the substrate to isolate the MWNT bundles from the substrate. In order to form the bulk MWNT on the top of the parylene C layer effectively, additional Au microelectrodes were patterned on the top of the bottom parylene C layer. It provides a small gap distance to allow the CNT manipulation more efficiently.  This gap distance for the CNT sensor is between 3(m and 10(m. Based on the technique for CNT manipulation presented in the pervious section, the bundled MWNT was manipulated and connected across the microelectrodes of each sensor (by observing the resistance change between the electrodes). Afterwards, the top parylene C layer was deposited to embed the MWNT and protect them from contamination. Finally, the sacrificial layer can be released to serve as mechanical micro bridges that suspend the MWNT sensors across the Au electrodes.

Figure 4. Fabrication process flow for the CNT based MEMS Sensor.

EXPERIMENTAL RESULTS

We have investigated the thermal properties for the MWNT sensors without sacrificially releasing the bridge.  This is because we have found that heat conduction in CNT is much faster in the axial direction (as reported in [2] and [3]), and conduction to substrate is negligible compared to polysilicon based MEMS sensors.  This is also the reason that MWNT sensors require only W to operate.  An optical microscopic image of a MWNT sensor is shown in Figure 5. Comparing to the results collected for the un-encapsulated MWNT devices reported in [2] and [3], the resistance for these embedded CNT sensors is more stable and consistent. We have also proved that these embedded based MEMS sensors have ultra low power consumption and high frequency response. Details of the experimental results are discussed in this section.

Figure 5. (a) Optical microscopic image showing the prototype parylene/MWNT/parylene sensor, (b) and (c) Scanning electron microscopic (SEM) images showing the bundled MWNT form on the top of the parylene C layer and were embedded inside the parylene C layers respectively.

## Thermal Sensitivity

The bundled MWNT as sensing elements for micro thermal sensors can be driven in constant current mode configuration (see Figure 6). An experiment for investigating the temperature dependence of the bulk MWNT sensor was performed. The fabricated sensor chip was packaged on a PCB for data acquisition and was put inside an oven.  The oven temperature was monitored by a Fluke type-K thermocouple attached on the surface of the PCB circuit board. Then, the resistance change of the MWNT sensors was measured as the temperature inside oven was varied. The temperature-resistance relationship for the MWNT sensors was measured and a representative data set is shown in Figure 7 for several cycles of measurements.

Figure 6. Schematic diagram showing the constant current mode circuit used in our experiments.

Figure 7. TCR for a Parylene/MWNT/Parylene sensor in five different measurements.

From the experimental results, the bundled MWNT resistance dropped with temperature, which is in agreement with [15].  Other than the first measurement cycle, the resistance at room temperature converged and the slopes are consistent for each measurement. The temperature-resistance dependency of bundled MWNT implied its thermal sensing capability. By observing the drift in resistance for the first measurement, we concluded that the MWNT sensors become stable after a temperature annealing process. Based on experimental results, the temperature coefficient of resistance (TCR) for the MWNT sensors was calculated based on Equation (2):

(2)

where  is the resistance at room temperature , and  is the temperature coefficient of resistance. The range of the TCR for the MWNT sensors was found to be from -0.04 to -0.07. By comparing the drift in the room temperature resistance and convergence of data from measurement of different temperature ramping cycles reported in [2] and [3], the performance of current parylene encapsulated MWNT sensors are more stable and consistent. With parylene protecting the MWNT linkage between the microelectrodes, these new MWNT based MEMS sensors will have much less contaminations such as moisture and dust particles during measurements, and also will not have MWNT detaching from the Au electrodes even if the sensors undergo thermal cycling.

## Power Consumption

The I-V Characteristic of the MWNT sensors was also investigated. From the results of experiments conducted on two different MWNT sensors, the current required to induce self heating of the MWNT devices was inrange at several volts which suggests that the power consumption of these devices is in range (see Figure 8 and Figure 9).

Figure 8. I-V characteristics of a Parylene/MWNT/Parylene sensor. Three repeated measurements were performed to validate its repeatability.  The straight line is the theoretical expectation using Ohm’s Law. The room temperature resistance of bundled MWNT of this sample was about 310.

Figure 9. I-V characteristics of a Parylene/MWNT/Parylene sensor.  Three repeated measurements were performed to validate its repeatability.  The straight line is the theoretical expectation using Ohm’s Law. The room temperature resistance of the bundled MWNT in this sample was about 133.

## Frequency Response

Investigation on the frequency response of the MWNT sensor was also carried out. To test the frequency response of the embedded bundled MWNT sensor, input square wave of 3 V peak-to-peak at 19 kHz was fed into the negative input terminal of the circuit shown in Figure 6 and the output response was observed on an oscilloscope (see Figure 10).

(a)

(b)

Figure 10. Frequency response of MWNT bundles in constant current mode with different time base: (a) 2.5(s and (b) 50(s.

From our experimental measurements, bundled MWNT sensors exhibited very fast frequency response.  An approximate relationship between the time constant and cutoff frequency was give by [3]:

(3)

where is the cutoff frequency, and is the time constant of the response. We used the above equation to estimate the cut-off frequency of the MWNT sensors.  From the oscilloscope measurement, the time constant of the output sensor signal at the input frequency of 19 kHz is around 4.8(s and therefore the estimated cutoff frequency of the device was about 148 kHz (see Figure 10). From experimental observations, this time constant was consistent for different input frequencies.  As a comparison, typical frequency response of MEMS polysilicon sensors in constant current mode configuration without frequency compensation is around several hundred Hz to several kHz [3][16].

CONCLUSION

A technique to form encapsulated bundled MWNT resistive elements between Au electrodes was presented.  The TCR measurements and the frequency response measurement of the bundled MWNT based MEMS sensors showed that bundled MWNT can be used as a sensing element for high performance, i.e., ultra-low-power and high-frequency-response thermal sensing applications. Also, by embedding the MWNT bundles inside parylene C polymer layers, the stability of the sensor increased.  Moreover, the operating power of the resulting devices is in the range, which is ultra low power consumption for applications such as fluidic shear-stress sensing or thermal imaging.

# ACKNOWLEDGEMENTS

Funding for this project was provided by The Chinese University of Hong Kong (CUHK).  The authors would like to sincerely thank Dr. W.Y. Cheung of the Department of Electronic Engineering of CUHK, Ms. Catherine Yeung of Department of Physics of CUHK, and Mr. Victor T. S. Wong and Ms. Jennifer W. L. Zhou of Centre for Micro and Nano Systems of CUHK for their help and discussion on this project.

# REFERENCES

J.B. Huang, C. Liu, F. Jiang, S. Tung, Y.C. Tai, C.M. Ho, “Fluidic Shear Stress Measurement Using Surface-Micromachined Sensors”, Proceedings of IEEE Region 10 International Conference on Microelectronics and VLSI, (TENCON ’95), pp. 16 – 19, 1995.

V. T. S. Wong and Wen J. Li, "Bulk Carbon Nanotubes for Micro Anemometry", invited paper, ASME Forum on MEMS for Fluid Measurements, Fluid Engineering Division Annual Summer Meeting, Honolulu, Hawaii, July 6-10, 2003.

V. T. S. Wong and W.J. Li, “Bulk Carbon Nanotubes as Sensing Element for Temperature and Anemometry Micro Sensing”, Proceedings of 16th IEEE International Conference on Micro Electro Mechanical Systems 2003, pp. 41 – 44, 2003.

C. Liu, J.B. Huang, Z. Zhu, F. Jiang, S. Tung, Y.C. Tai, C.M. Ho, “A Micromachined Flow Shear-Stress Sensor based on Thermal Transfer Principle”, Journal of Microelectromechanical Systems, Vol. 8, No. 1, pp. 90 – 99, 1999.

S. Iijima, “Helical Microtubules of Graphitic Carbon”, Nature, Vol. 354, pp. 56 – 58, 1991.

S. Frank, P. Poncharal, Z.L. Wang, W.A. de Heer, “Carbon Nanotube Quantum Resistors”, Science, Vol. 280, pp. 1744 – 1746, 1998.

E.W. Wong, P.E. Sheehan, C.M. Lieber, “Nanobeam Mechanics: Elasticity, Strength, and Toughness of Nanorods and Nanotubes”, Science, Vol. 277, pp.1971 – 1975, 1997.

Kong Jing, Franklin Nathan R., Zhou Chongwu, Chapline Michael G., Peng Shu, Cho Kyeongjae, Dai, Hongjie, “Nanotube Molecular Wires as Chemical Sensors” Science, Vol. 287, pp.622 – 625, 2000.

T. Shiokawa, K. Tsukagoshi, K. Ishibashi, Y. Aoyagi, “Nanostructure Construction in Single-walled Carbon Nanotubes by AFM Manipulation”, Proceedings of Microprocesses and Nanotechnology Conference 2001, pp. 164 – 165, 2001.

K. Yamamoto, S. Akita, Y. Nakayama, “Orientation of Carbon Nanotubes Using Electrophoresis”, Japanese Journal of Applied Physics, Vol.35, L917-L918, 1996.

K. Yamamoto, S. Akita, Y. Nakayama, “Orientation and Purification of Carbon Nanotubes Using AC Electrophoresis”, Journal of Physics D: Applied Physics, Vol. 31, L34-L36, 1998.

L.A. Nagahara, I. Amlani, J. Lewenstein and R.K. Tsui, “Directed Placement of Suspended Carbon Nanotubes for Nanometers-scale Assembly”, Applied Physics Letters, Vol. 80, No. 20, pp. 3826 – 3828, 2002.

H.A. Pohl, “Dielectrophoresis: The Behaviour of Neutral Matter in Nonuniform Electric Fields”, Cambridge University Press, 1978.

Sun Nanotech Co Ltd, Beijing, P.R. China.

T.W. Ebbesen, H.J. Lezec, H. Hiura, J.W. Bennett, H.F. Ghaemi, T. Thio, “Electrical Conductivity of Individual Carbon Nanotubes”, Nature, Vol. 382, pp. 54 – 56, 1996.

J.B. Huang, F.K. Jiang, Y.C. Tai, C.M. Ho, “MEMS-based Thermal Shear-stress Sensor with Self-frequency Compensation”, Measurement Science and Technology, Vol. 10, No. 8, pp. 687 – 696, 1999.